## MODAC PoC Final Parts List
	Morph Optic Data Acquisition and Control (MODAC)		FINAL Parts List (updating to reflect June 2020 status in process)
		Q includes spares
Phase	Name	Quantity	URL
L1 Basic DAC System
	Raspberry Pi 3 - Model B+	2	https://www.adafruit.com/product/3775
	5vdc 10A Power Supply		https://www.amazon.com/Aclorol-100V-240V-Switching-Converter-5-5x2-1mm/dp/B07CMM2BBR
	12vdc 200w Power Supply	1	https://www.amazon.com/gp/product/B06XRBN2L3
	Screw Terminal Rails (5 pack) for power buss	1	https://www.amazon.com/XLX-Terminal-Postions-Insulated-Barrier/dp/B01IJIGZ7G
	32GB SD card	1	https://www.amazon.com/Samsung-MicroSD-Adapter-MB-ME32GA-AM/dp/B06XWN9Q99
	USB Hub	1	https://www.adafruit.com/product/2998
	USB Keyboard (MO supplied)	1	https://www.amazon.com/AmazonBasics-KU-0833-Wired-Keyboard/dp/B005EOWBHC
	USB Mouse (MO supplied)	1	https://www.amazon.com/VicTsing-Computer-Optical-Desktop-Compatible/dp/B07C1JZH92
	Desktop HDMI Monitor (MO supplied)	1	https://www.amazon.com/Acer-SB220Q-Ultra-Thin-Frame-Monitor/dp/B07CVL2D2S

L2 Hardware
	Pi-EzConnect Terminal Block Breakout HAT	2	https://www.adafruit.com/product/2711
	I2C Temp, Humidity, Pressure Sensor board	1	https://www.adafruit.com/product/2652
	High-Precision AD/DA Waveshare shield- 8Chan 24bit AD; 2Chan 16bitDA	2	https://www.amazon.com/Waveshare-Raspberry-AD-Board-High-Precision/dp/B00ZZGDL32
	2x Quad K-Type AD8495 thermocouple amp	2	https://playingwithfusion.com/productview.php?pdid=53
	8 Channel Relay Module		https://www.amazon.com/dp/B01NBUDHPB
	Enclosed Power Relay w/std outlets	3	https://www.amazon.com/Iot-Relay-Enclosed-High-Power-Raspberry/dp/B00WV7GMA2
	SparkFun Qwiic (i2C) Adapter	6	https://www.sparkfun.com/products/14495
	SparkFun Differential I2C Breakout - PCA9615 (Qwiic)	2	https://www.sparkfun.com/products/14589
	Leica Distro D1 Laser Distance Measure w/BlueTooth4		https://www.amazon.com/Leica-DISTO-Distance-Measure-Bluetooth/dp/B01M5CW7CT
	4chan 16Bit AD Converter		https://www.adafruit.com/product/1085

	wish: i2c thermocouple/amp/AD		https://www.sparkfun.com/products/16294

Custom Case
	Repurposed USB rack mount Cabinet
	Laser cut panels over openings
	6-Outlet Surge Protector Power Strip 2-Pack	1	https://www.amazon.com/AmazonBasics-6-Outlet-Protector-2-Pack-2-Foot/dp/B00TP1BWMK
	hdmi/usb panel mount	1	https://www.amazon.com/gp/product/B076DFRPLZ
	usb microB panel mount	1	https://www.sparkfun.com/products/15464
	1 x 2 HDMI Splitter	1	https://www.amazon.com/gp/product/B005HXFARS
Connectors
	2-Pin 3.81mm Screw Terminal Block Plug	8	https://www.amazon.com/2-Pin-3-81mm-Terminal-Shrouded-Flange/dp/B07CV5TZH7
	8-Pin 5.08mm Screw Terminal Block	4	https://www.amazon.com/8-Pin-5-08mm-Terminal-Shrouded-Flange/dp/B01IR27BPO
	12 Pieces 2.1mm Jack Panel Mount	1	https://www.amazon.com/ThreeBulls-Pieces-5-5mmx2-1mm-Female-Connector/dp/B01N8VV78D
	4-Pin 5.08mm Screw Terminal Plug Flange	6	https://www.amazon.com/4-Pin-5-08mm-Terminal-Shrouded-Flange/dp/B01BDCIU2I
	M2.5 Nylon Hex Spacer Standoff kit	1	https://www.amazon.com/gp/product/B06XKWDSPT

Unused
	Ethernet 4 port switch		https://www.amazon.com/TP-Link-Ethernet-Optimization-Unmanaged-TL-SG105/dp/B00A128S24
	USB-Serial for Pi/BBB		https://www.adafruit.com/product/954
	Ethernet cables 5’ (multipack)		https://www.amazon.com/Ethernet-CableCreation-Gigabit-Network-Computer/dp/B01JO3FRJ2
	1.3” oled breakout (i2c/spi)		https://www.adafruit.com/product/938
	7” touch screen		https://www.adafruit.com/product/2397
	Pi3 stacking header		https://www.adafruit.com/product/1979
	24bit 16 chan ADC LTC2499 I2C interface		https://www.digikey.com/products/en?mpart=DC1012A-A&v=855

## Phase 3 b
MODAC components (Phase 3 b)
backup components – 03Dec2019
Name	QTY	Price each	Price	URL		Notes	Rcvd
24bit AD waveshare shield	1	$37.99	$37.99	https://www.amazon.com/Waveshare-Raspberry-AD-Board-High-Precision/dp/B00ZZGDL32
Pi-EzConnect Terminal Block Breakout HAT	1	$19.95	$19.95	https://www.adafruit.com/product/2711		1
Amazon 8 Channel Relay Module	1	$6.99	$6.99	https://www.amazon.com/dp/B01NBUDHPB		1
SparkFun Qwiic Adapter	6	$1.50	$9.00	https://www.sparkfun.com/products/14495	https://www.amazon.com/SparkFun-Qwiic-Adapter/dp/B07DGCWNHP
M2.5 Nylon Hex Spacer Standoff kit	1	$12.99	$12.99	https://www.amazon.com/gp/product/B06XKWDSPT
Quad K-Type AD8495 thermocouple amp	2	$43.95	$87.90	https://playingwithfusion.com/productview.php?pdid=53
			$0.00

Total			$174.82

## P3 cabinet parts 1
MODAC Phase 3 components (a)
components for cabinet – 30Aug2019
Name	QTY	Price each	Price	URL		Notes	Rcvd
hdmi/usb panel mount	1	$9.99	$9.99	https://www.amazon.com/gp/product/B076DFRPLZ
usb microB panel mount	1	$2.50	$2.50	https://www.sparkfun.com/products/15464
1 x 2 HDMI Splitter	1	$13.99	$13.99	https://www.amazon.com/gp/product/B005HXFARS
6-Outlet Surge Protector Power Strip 2-Pack	1	$8.45	$8.45	https://www.amazon.com/AmazonBasics-6-Outlet-Protector-2-Pack-2-Foot/dp/B00TP1BWMK
2-Pin 3.81mm Screw Terminal Block Plug	8	$2.22	$17.76	https://www.amazon.com/2-Pin-3-81mm-Terminal-Shrouded-Flange/dp/B07CV5TZH7
12 Pieces 2.1mm Jack Panel Mount	1	$6.99	$6.99	https://www.amazon.com/ThreeBulls-Pieces-5-5mmx2-1mm-Female-Connector/dp/B01N8VV78D
4-Pin 5.08mm Screw Terminal Plug Flange	6	$2.58	$15.48	https://www.amazon.com/4-Pin-5-08mm-Terminal-Shrouded-Flange/dp/B01BDCIU2I

Total			$75.16

## P3 backup parts 2
MODAC components (Phase 3 b)
backup components – 14Sept2019
Name	QTY	Price each	Price	URL		Notes	Rcvd
24bit AD waveshare shield	1	$37.99	$37.99	https://www.amazon.com/Waveshare-Raspberry-AD-Board-High-Precision/dp/B00ZZGDL32
Pi-EzConnect Terminal Block Breakout HAT	1	$19.95	$19.95	https://www.adafruit.com/product/2711		1
Amazon 8 Channel Relay Module	1	$6.99	$6.99	https://www.amazon.com/dp/B01NBUDHPB		1
SparkFun Qwiic Adapter	6	$1.50	$9.00	https://www.sparkfun.com/products/14495	https://www.amazon.com/SparkFun-Qwiic-Adapter/dp/B07DGCWNHP
M2.5 Nylon Hex Spacer Standoff kit	1	$12.99	$12.99	https://www.amazon.com/gp/product/B06XKWDSPT
8-Pin 5.08mm Screw Terminal Block	4	$4.14	$16.56	https://www.amazon.com/8-Pin-5-08mm-Terminal-Shrouded-Flange/dp/B01IR27BPO
			$0.00

Total			$103.48

## MODAC PoC Parts Rev2
Kiln Control Parts Rev 2
Morph Optic Data Aquisition and Control (MODAC)			Proof of Concept Parts List

Name	QTY	Price each	URL		Notes	RECEIVED MIOAT
5-6” type K thermocouple. Identical to what's in Kiln already	5	$45.00	Sarah Perez <sales@greatkilns.com> 800-241-4400/ 770-967-4009	$225.00		3

Raspberry Pi 3 - Model B+	2	$35.00	https://www.adafruit.com/product/3775	$70.00	✔	1
Pi Power supply	2	$7.50	https://www.adafruit.com/product/1995	$15.00	✔	1
Pi case	2	$7.95	https://www.adafruit.com/product/2258	$15.90	✔	1
USB-Serial for Pi/BBB	1	$9.95	https://www.adafruit.com/product/954	$9.95	✔	1
Pi-EzConnect Terminal Block Breakout HAT	1	$19.95	https://www.adafruit.com/product/2711	$19.95	✔	1
Pi3 stacking header	1	$2.95	https://www.adafruit.com/product/1979	$2.95	✔	1
1.3” oled breakout (i2c/spi)	1	$19.95	https://www.adafruit.com/product/938	$19.95	✔	1
7” touch screen	1	$99.95	https://www.adafruit.com/product/2397	$99.95	✔	1

5vdc 10A Power Supply	1	$18.95	https://www.amazon.com/Aclorol-100V-240V-Switching-Converter-5-5x2-1mm/dp/B07CMM2BBR	$18.95	✔	1
12vdc 200w Power Supply	1	$21.99	https://www.amazon.com/gp/product/B06XRBN2L3	$21.99	✔	1
screw terminal rail pack	1	$9.99	https://www.amazon.com/XLX-Terminal-Postions-Insulated-Barrier/dp/B01IJIGZ7G	$9.99	✔	6
32GB SD card	1	$8.00	https://www.amazon.com/Samsung-MicroSD-Adapter-MB-ME32GA-AM/dp/B06XWN9Q99	$8.00	✔	1
USB Hub	1	$5.00	https://www.adafruit.com/product/2998	$5.00	✔	1
USB Keyboard	1	$13.99	https://www.amazon.com/AmazonBasics-KU-0833-Wired-Keyboard/dp/B005EOWBHC	$13.99	Not needed	0
USB Mouse	1	$5.99	https://www.amazon.com/VicTsing-Computer-Optical-Desktop-Compatible/dp/B07C1JZH92	$5.99	✔	1
Desktop HDMI Monitor	1	$149.00	https://www.amazon.com/Acer-SB220Q-Ultra-Thin-Frame-Monitor/dp/B07KQKGP6W?th=1	$149.00	Not needed	0
Ethernet switch	1	$15.99	https://www.amazon.com/TP-Link-Ethernet-Optimization-Unmanaged-TL-SG105/dp/B00A128S24	$15.99	✔	1
Ethernet cables 5’ (multipack)	1	$9.95	https://www.amazon.com/Ethernet-CableCreation-Gigabit-Network-Computer/dp/B01JO3FRJ2	$9.95	✔	1

Sensors & Relays
I2C Temp, Humidity, Pressure Sensor board	2	$19.95	https://www.adafruit.com/product/2652	$39.90	✔	1
24bit 16 chan ADC LTC2499 I2C interface	1	$51.00	https://www.digikey.com/products/en?mpart=DC1012A-A&v=855	$51.00	?	1
2Quad K-Type AD8495 thermocouple amp KTYE no offset	2	?	https://playingwithfusion.com/productview.php?pdid=53	#VALUE!	✔	2
Amazon 8 Channel Relay Module	1	$6.99	https://www.amazon.com/dp/B01NBUDHPB	$6.99	✔	1
Enclosed Power Relay w/std outlets	3	$24.86	https://www.amazon.com/Iot-Relay-Enclosed-High-Power-Raspberry/dp/B00WV7GMA2	$74.58	✔	1

Custom Case	0	$100.00	by MIOAT (estimate) incl connectors

MODAC parts Sub total				#VALUE!
Shipping & Handling
Total w s+h

## MODAC Original PartsList
	Morph Optic Data Aquisition and Control (MODAC)		Proof of Concept Parts List

Phase	Name	Price	URL
L1 Basic DAC System
	Raspberry Pi 3 - Model B+	$35.00	https://www.adafruit.com/product/3775
	5vdc 10A Power Supply	$18.95	https://www.amazon.com/Aclorol-100V-240V-Switching-Converter-5-5x2-1mm/dp/B07CMM2BBR
	12vdc 200w Power Supply	$21.99	https://www.amazon.com/gp/product/B06XRBN2L3
	screw terminal rail pack	$9.99	https://www.amazon.com/XLX-Terminal-Postions-Insulated-Barrier/dp/B01IJIGZ7G
	32GB SD card	8	https://www.amazon.com/Samsung-MicroSD-Adapter-MB-ME32GA-AM/dp/B06XWN9Q99
	USB Hub	$5.00	https://www.adafruit.com/product/2998
	USB Keyboard	$13.99	https://www.amazon.com/AmazonBasics-KU-0833-Wired-Keyboard/dp/B005EOWBHC
	USB Mouse	$5.99	https://www.amazon.com/VicTsing-Computer-Optical-Desktop-Compatible/dp/B07C1JZH92
	Desktop HDMI Monitor	$90.00	https://www.amazon.com/Acer-SB220Q-Ultra-Thin-Frame-Monitor/dp/B07CVL2D2S

L2 IO Hardware
	Pi-EzConnect Terminal Block Breakout HAT	19.95	https://www.adafruit.com/product/2711
	Pi3 stacking header	2.95	https://www.adafruit.com/product/1979
	Sensors & Relays		(Note no thermocouples included here)
	I2C Temp, Humidity, Pressure Sensor board	$19.95	https://www.adafruit.com/product/2652
	24bit 16 chan ADC LTC2499 I2C interface	$51.00	https://www.digikey.com/products/en?mpart=DC1012A-A&v=855
	2x Quad K-Type AD8495 thermocouple amp	$87.90	https://playingwithfusion.com/productview.php?pdid=53	$43.95
	Amazon 8 Channel Relay Module	$6.99	https://www.amazon.com/dp/B01NBUDHPB
	Enclosed Power Relay w/std outlets	$24.86	https://www.amazon.com/Iot-Relay-Enclosed-High-Power-Raspberry/dp/B00WV7GMA2
L3 Alternative Displays
	1.3” oled breakout (i2c/spi)	$19.95	https://www.adafruit.com/product/938
	7” touch screen	99.95	https://www.adafruit.com/product/2397
L4 PC Connection
	Ethernet 4 port switch	15.99	https://www.amazon.com/TP-Link-Ethernet-Optimization-Unmanaged-TL-SG105/dp/B00A128S24
	USB-Serial for Pi/BBB	9.95	https://www.adafruit.com/product/954
	Ethernet cables 5’ (multipack)	9.95	https://www.amazon.com/Ethernet-CableCreation-Gigabit-Network-Computer/dp/B01JO3FRJ2

Custom Case
	Custom Case	$100.00	by MIOAT (estimate) incl connectors

	MODAC parts Sub total	$678.30
	Shipping & Handling	$129.00
	Total w s+h	$807.30